## round0
round | type | pause | source | prime_buffer | volume | rate | time | total_time | notes
0 | flush | 0 | ssc | none | 2000 | 1000 | 2 | 2
0 | prime | 0 | hyb | hyb | 500 | 1000 | 0.5 | 2.5 | Prime and fill line with pre-hyb
0 | pid | 60 | hyb | none | 1000 | 200 | 5 | 7.5 | Push pre-hyb at slow rate and wait 1 minute
0 | prime | 900 | r1 | hybwash | 1000 | 1000 | 1 | 8.5 | Push readout probes R1, follow with hybwash buffer and wait 15 min
0 | pid | 60 | hybwash | none | 2000 | 400 | 5 | 12.5 | Run hybwash buffer over sample
0 | pid | 300 | ib | none | 2000 | 500 | 4 | 16.5 | Run imaging buffer through sample

## round1
round | type | pause | source | prime_buffer | volume | rate | time | total_time | notes
1 | flush | 0 | ssc | none | 2000 | 1000 | 2 | 2
1 | prime | 0 | tcep | tcep | 500 | 1000 | 0.5 | 2.5 | Prime and fill line with cleavage buffer
1 | pid | 900 | tcep | none | 2000 | 200 | 10 | 12.5 | Push cleavage buffer through chamber at slow rate
1 | flush | 0 | ssc | none | 2000 | 500 | 4 | 16.5 | Flush out tcep
1 | prime | 0 | hyb | hyb | 500 | 1000 | 0.5 | 17 | Prime and fill line with pre-hyb
1 | pid | 60 | hyb | none | 1000 | 200 | 5 | 22 | Push pre-hyb at slow rate and wait 1 minute
1 | prime | 900 | r2 | hybwash | 1000 | 1000 | 1 | 23 | Push readout probes R1, follow with hybwash buffer and wait 15 min
1 | pid | 60 | hybwash | none | 2000 | 400 | 5 | 27 | Run hybwash buffer over sample
1 | pid | 300 | ib | none | 2000 | 500 | 4 | 31 | Run imaging buffer through sample

## round2
round | type | pause | source | prime_buffer | volume | rate | time | total_time | notes
2 | flush | 0 | ssc | none | 2000 | 1000 | 2 | 2
2 | prime | 0 | tcep | tcep | 500 | 1000 | 0.5 | 2.5 | Prime and fill line with cleavage buffer
2 | pid | 900 | tcep | none | 2000 | 200 | 10 | 12.5 | Push cleavage buffer through chamber at slow rate
2 | flush | 0 | ssc | none | 2000 | 500 | 4 | 16.5 | Flush out tcep
2 | prime | 0 | hyb | hyb | 500 | 1000 | 0.5 | 17 | Prime and fill line with pre-hyb
2 | pid | 60 | hyb | none | 1000 | 200 | 5 | 22 | Push pre-hyb at slow rate and wait 1 minute
2 | prime | 900 | r3 | hybwash | 1000 | 1000 | 1 | 23 | Push readout probes R1, follow with hybwash buffer and wait 15 min
2 | pid | 60 | hybwash | none | 2000 | 400 | 5 | 27 | Run hybwash buffer over sample
2 | pid | 300 | ib | none | 2000 | 500 | 4 | 31 | Run imaging buffer through sample

## round3
round | type | pause | source | prime_buffer | volume | rate | time | total_time | notes
3 | flush | 0 | ssc | none | 2000 | 1000 | 2 | 2
3 | prime | 0 | tcep | tcep | 500 | 1000 | 0.5 | 2.5 | Prime and fill line with cleavage buffer
3 | pid | 900 | tcep | none | 2000 | 200 | 10 | 12.5 | Push cleavage buffer through chamber at slow rate
3 | flush | 0 | ssc | none | 2000 | 500 | 4 | 16.5 | Flush out tcep
3 | prime | 0 | hyb | hyb | 500 | 1000 | 0.5 | 17 | Prime and fill line with pre-hyb
3 | pid | 60 | hyb | none | 1000 | 200 | 5 | 22 | Push pre-hyb at slow rate and wait 1 minute
3 | prime | 900 | r4 | hybwash | 1000 | 1000 | 1 | 23 | Push readout probes R1, follow with hybwash buffer and wait 15 min
3 | pid | 60 | hybwash | none | 2000 | 400 | 5 | 27 | Run hybwash buffer over sample
3 | pid | 300 | ib | none | 2000 | 500 | 4 | 31 | Run imaging buffer through sample

## round4
round | type | pause | source | prime_buffer | volume | rate | time | total_time | notes
4 | flush | 0 | ssc | none | 2000 | 1000 | 2 | 2
4 | prime | 0 | tcep | tcep | 500 | 1000 | 0.5 | 2.5 | Prime and fill line with cleavage buffer
4 | pid | 900 | tcep | none | 2000 | 200 | 10 | 12.5 | Push cleavage buffer through chamber at slow rate
4 | flush | 0 | ssc | none | 2000 | 500 | 4 | 16.5 | Flush out tcep
4 | prime | 0 | hyb | hyb | 500 | 1000 | 0.5 | 17 | Prime and fill line with pre-hyb
4 | pid | 60 | hyb | none | 1000 | 200 | 5 | 22 | Push pre-hyb at slow rate and wait 1 minute
4 | prime | 900 | r4 | hybwash | 1000 | 1000 | 1 | 23 | Push readout probes R1, follow with hybwash buffer and wait 15 min
4 | pid | 60 | hybwash | none | 2000 | 400 | 5 | 27 | Run hybwash buffer over sample
4 | pid | 300 | ib | none | 2000 | 500 | 4 | 31 | Run imaging buffer through sample

## round5
round | type | pause | source | prime_buffer | volume | rate | time | total_time | notes
5 | flush | 0 | ssc | none | 2000 | 1000 | 2 | 2
5 | prime | 0 | tcep | tcep | 500 | 1000 | 0.5 | 2.5 | Prime and fill line with cleavage buffer
5 | pid | 900 | tcep | none | 2000 | 200 | 10 | 12.5 | Push cleavage buffer through chamber at slow rate
5 | flush | 0 | ssc | none | 2000 | 500 | 4 | 16.5 | Flush out tcep
5 | prime | 0 | hyb | hyb | 500 | 1000 | 0.5 | 17 | Prime and fill line with pre-hyb
5 | pid | 60 | hyb | none | 1000 | 200 | 5 | 22 | Push pre-hyb at slow rate and wait 1 minute
5 | prime | 900 | r5 | hybwash | 1000 | 1000 | 1 | 23 | Push readout probes R1, follow with hybwash buffer and wait 15 min
5 | pid | 60 | hybwash | none | 2000 | 400 | 5 | 27 | Run hybwash buffer over sample
5 | pid | 300 | ib | none | 2000 | 500 | 4 | 31 | Run imaging buffer through sample

## round6
round | type | pause | source | prime_buffer | volume | rate | time | total_time | notes
6 | flush | 0 | ssc | none | 2000 | 1000 | 2 | 2
6 | prime | 0 | tcep | tcep | 500 | 1000 | 0.5 | 2.5 | Prime and fill line with cleavage buffer
6 | pid | 900 | tcep | none | 2000 | 200 | 10 | 12.5 | Push cleavage buffer through chamber at slow rate
6 | flush | 0 | ssc | none | 2000 | 500 | 4 | 16.5 | Flush out tcep
6 | prime | 0 | hyb | hyb | 500 | 1000 | 0.5 | 17 | Prime and fill line with pre-hyb
6 | pid | 60 | hyb | none | 1000 | 200 | 5 | 22 | Push pre-hyb at slow rate and wait 1 minute
6 | prime | 900 | r6 | hybwash | 1000 | 1000 | 1 | 23 | Push readout probes R1, follow with hybwash buffer and wait 15 min
6 | pid | 60 | hybwash | none | 2000 | 400 | 5 | 27 | Run hybwash buffer over sample
6 | pid | 300 | ib | none | 2000 | 500 | 4 | 31 | Run imaging buffer through sample

## round7
round | type | pause | source | prime_buffer | volume | rate | time | total_time | notes
7 | flush | 0 | ssc | none | 2000 | 1000 | 2 | 2
7 | prime | 0 | tcep | tcep | 500 | 1000 | 0.5 | 2.5 | Prime and fill line with cleavage buffer
7 | pid | 900 | tcep | none | 2000 | 200 | 10 | 12.5 | Push cleavage buffer through chamber at slow rate
7 | flush | 0 | ssc | none | 2000 | 500 | 4 | 16.5 | Flush out tcep
7 | prime | 0 | hyb | hyb | 500 | 1000 | 0.5 | 17 | Prime and fill line with pre-hyb
7 | pid | 60 | hyb | none | 1000 | 200 | 5 | 22 | Push pre-hyb at slow rate and wait 1 minute
7 | prime | 900 | r7 | hybwash | 1000 | 1000 | 1 | 23 | Push readout probes R1, follow with hybwash buffer and wait 15 min
7 | pid | 60 | hybwash | none | 2000 | 400 | 5 | 27 | Run hybwash buffer over sample
7 | pid | 300 | ib | none | 2000 | 500 | 4 | 31 | Run imaging buffer through sample

## round8
round | type | pause | source | prime_buffer | volume | rate | time | total_time | notes
8 | flush | 0 | ssc | none | 2000 | 1000 | 2 | 2
8 | prime | 0 | tcep | tcep | 500 | 1000 | 0.5 | 2.5 | Prime and fill line with cleavage buffer
8 | pid | 900 | tcep | none | 2000 | 200 | 10 | 12.5 | Push cleavage buffer through chamber at slow rate
8 | flush | 0 | ssc | none | 2000 | 500 | 4 | 16.5 | Flush out tcep
8 | prime | 0 | hyb | hyb | 500 | 1000 | 0.5 | 17 | Prime and fill line with pre-hyb
8 | pid | 60 | hyb | none | 1000 | 200 | 5 | 22 | Push pre-hyb at slow rate and wait 1 minute
8 | prime | 900 | r8 | hybwash | 1000 | 1000 | 1 | 23 | Push readout probes R1, follow with hybwash buffer and wait 15 min
8 | pid | 60 | hybwash | none | 2000 | 400 | 5 | 27 | Run hybwash buffer over sample
8 | pid | 300 | ib | none | 2000 | 500 | 4 | 31 | Run imaging buffer through sample

## round9
round | type | pause | source | prime_buffer | volume | rate | time | total_time | notes
9 | flush | 0 | ssc | none | 2000 | 1000 | 2 | 2
9 | prime | 0 | tcep | tcep | 500 | 1000 | 0.5 | 2.5 | Prime and fill line with cleavage buffer
9 | pid | 900 | tcep | none | 2000 | 200 | 10 | 12.5 | Push cleavage buffer through chamber at slow rate
9 | flush | 0 | ssc | none | 2000 | 500 | 4 | 16.5 | Flush out tcep
9 | prime | 0 | hyb | hyb | 500 | 1000 | 0.5 | 17 | Prime and fill line with pre-hyb
9 | pid | 60 | hyb | none | 1000 | 200 | 5 | 22 | Push pre-hyb at slow rate and wait 1 minute
9 | prime | 900 | r9 | hybwash | 1000 | 1000 | 1 | 23 | Push readout probes R1, follow with hybwash buffer and wait 15 min
9 | pid | 60 | hybwash | none | 2000 | 400 | 5 | 27 | Run hybwash buffer over sample
9 | pid | 300 | ib | none | 2000 | 500 | 4 | 31 | Run imaging buffer through sample